## Slide 1
Radon Transformation and Sinogram
and
Fourier slice theorem or Central slice theorem or Projection slice theorem

## Slide 2: X-ray CT source-detector geometry
Scintillation detector- convert X-ray photon into visible-light photon and then into electrical signal
Array of detectors

## Slide 3: Measurement setup
Array of detectors
What are array detectors?

## Slide 4: Equation of a straight line
OA = a
OB = b
OQ = s
O
x
y
φ
Q
A
B
s
Equation of AB-
………………. (1)
s = a cos (φ)
s = b sin (φ)
………………. (2)
Express a and b in terms of s and φ
………………. (3)
Now Eq. (1) becomes
P1
P2
P3
P4

## Slide 5: Radon transformation
O
x
y
A
B
Detector
g(x, y)
Detector

## Slide 6: Radon transformation
O
x
y
A
B
Detector
g(x, y)
Detector

## Slide 7: Radon transformation
O
x
y
φ
Q
A
B
s
p(s, φ)
Detector
s
g(x, y)
O
φ

## Slide 8: Radon transformation
Dirac delta function
2D function or the imaging region
The Dirac delta function ensures that all the points of the function g(x, y) along the line AB contributes to the data collected at the detector placed at a distance s from the origin and oriented at an angle φ with respect to the x-y coordinate system.
Data collected by the detector
Notation-

## Slide 9: BP image using all projections
O
x
y
φ
Q
A
B
s
p(s, φ)
Detector
s
g(x, y)
O
φ
BP algorithm in terms of Radon transformation
BP from a single view angle
Integrate over 180, the other half doesn’t give extra information
Inverse Radon transformation

## Slide 10: Important points
The Radon transform is a mapping from the Cartesian rectangular coordinates (x, y) to a distance and an angle (s, φ), also known as the polar coordinates.
In 1917, Johann Radon proved that an object can be reconstructed exactly from an infinite number of projections, when taken over 360 degree around the object.
The Backprojection algorithm can be mathematically presented in terms of the inverse Radon transformation. Therefore, it is an analytical method and that is why it is very fast.

## Slide 11: Sinogram
O
x
y
φ2
r
P
φ3
P2
P1
P3
O3
O2
O1
φ1
P1O1=r sin φ1; P2O2=r sin φ2; P3O3=r sin φ3
P=point source
(3)
(2)
(1)

## Slide 12: Sinogram
O
x
y
S1
O1
N1
S2
O2
N2
S3
O3
N3
(1)
(2)
(3)
Detectors
Detectors
Detectors

## Slide 14: Sinogram
s
φ=00
φ=1800
Plot/stack of detector data
Neat and clean version

## Slide 15: Sinogram
s
φ=00
φ=1800
Plot/stack of detector data
φ=00
φ=1800
φ=450
φ=900
φ=1350
Contains details but clumsy version

## Slide 16: Fourier slice theorem or Central slice theorem or Projection slice theorem

## Slide 17: Sinogram to image formation

## Slide 18: Illustration

## Slide 19: Illustration

## Slide 20: Application in image reconstruction
Therefore, collect the projections of a 2D object from different-different angles, take the Fourier transform of the individual projections, arrange them in a 2D grid as shown in the previous slide and then take the 2D inverse Fourier transform which will provide image of the object.

## Slide 21: The Fourier slice theorem step by step

## Slide 22: Step 1
(1)
(2)
(3)
(4)
Place the object and the detectors

## Slide 23: Step 2
(1)
(2)
(3)
(4)
Always one sided because counts are always positive
Perform the measurements

## Slide 24: Step 3
(1)
(2)
(3)
(4)
(1)
(2)
(3)
(4)
FT
FT
FT
FT
Obtain 1D Fourier transforms of individual measured data

## Slide 25
Step 4
Stack the Fourier transforms properly

## Slide 26
Step 5
IFT
Take the inverse Fourier transform in 2D

## Slide 27: Dirac delta function

## Slide 28: Mathematical representation
Can be thought as a line which is zero everywhere and infinite at the origin
As it is a probability distribution function then-

## Slide 29: Common forms of the Dirac delta function

## Slide 30: Box function as a delta function
ε
1/ε
O
Y
X
x
b(x, ε)

## Slide 31: Gaussian function as a delta function

## Slide 32: Lorentzian function as a delta function

## Slide 33: Triangular function as a delta function
1/ε
2ε
Area under the curve is = 2 x base x height = 2 x 2ε x (1/ε) = 1.
So it satisfies the condition of the delta function.
If we impose ε  0, the triangular function becomes a delta function.

## Slide 34: Integral representation of a delta function
Inverse Fourier transformation
Fourier transformation
Integral representation generalization-

## Slide 35: Some properties of the delta function
Even function (symmetric)-
Scaling-
Shifting-

## Slide 36: Dirac comb

## Slide 37: Introduction to Delta function
It is a generalized function or a distribution
Introduced by Physicist Paul Dirac
Denoted by δ
Very very important and widely used function
In physics it is used to model mass density/charge density of a point object
In signal processing it is used to model impulse
Kroncecker delta function which is a discrete analogue of the Dirac delta function.