## Slide 1
OCT

## Slide 2: Eye/retina imaging
Retina contains different types of cells arranged as layers.
Rod, cones, ganglion and bipolar cells.
Converts optical signal to neural signal.
Optic nerve carries from retina to brain for processing.

## Slide 4: OCT set up

## Slide 5: Visualization of tissue layers with OCT

## Slide 7
1 mm
1 cm
10 cm
Penetration depth (log)
1 mm
10 mm
100 mm
1 mm
Resolution (log)
OCT
Confocal microscopy
Ultrasound
Standard clinical
High frequency
OCT vs. standard imaging

## Slide 8
Time domain optical coherence tomography

## Slide 9: Michelson Morley Experiment Set up 1
It was performed to prove Einstein’s special theory of relativity.
Laser Interferometer
Gravitational-Wave Observatory (LIGO)
Arm length = 4 km

## Slide 10: Michelson Morley Experiment Set up 2

## Slide 11: Newton’s ring- Fringe pattern
A thin, varying air film forms between a plano-convex lens and a glass plate. When monochromatic light is shone vertically, light reflecting from the top (air-to-glass) and bottom (glass-to-air) of the air film interferes.

## Slide 12: OCT set up with fiber-optic delivery

## Slide 13: Michelson Morley Experiment
LS
LR

## Slide 14: Michelson Morley Experiment
LS
LR
Constructive interference
Destructive interference
Long coherence length

## Slide 15
Short coherence length

## Slide 16
Phase change of light
n2>n1